VALID V Daily Operation Schedule

Date: 2020-07-29

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Start Time | Job Name/Operation Take | Ops | RC | Server | Remarks |
| 8:00 | Distribute upsurge reminder letter issued to users via email |  |  | m5ppc01/02 | (Remarks: RE:COPM 28) |
| 8:00 | Check PPS daily backup, take off the last day offsite tape PPSPRD-L4-GEN4, PPSPRD-R16-GEN4 |  |  | PPSPRD-SVR1 | (Remarks: PPS COPM 6.5 & 9.1.2) |
| 8:00 | Perform PPS System Health Check and send comfirmed email to related parties. (https://pps.td.hksarg/pps/) |  |  | TDOA | (Re : PPS COPM 11) |
| 8:00 | Check Copy of Month-End Backup Tapes whether successfully completed, - screen capture source DB, put it on network drive □ - dismount from PCC Tape Library and filing □ - update & send "Production Tape Location.xls" to API/IS2 and SCOp/IS2 □ |  |  | MSL4048\_m5pdp01\_library | (Remarks : COPM 10.4) |
| 8:15 | Check the status of 4 LOs' Health Check Monitoring PC |  |  | TDOA | (Remarks : Re: Operation Notice 041/10) |
| 8:40 | Check VRMS daily backup |  |  | VRMSVR101W |  |
| 10:00 | Check Daily DB backup on PCC Data Protector Manager DB-VALIDPRO-u5pdb01-FRI □ DB-VALIDPRO-u5pdb02-FRI □ Oracle8 VALIDPRO-ONLINE-FRI □ IDB DP-IDB-FRI □ |  |  | m5ppc01 |  |
| 10:00 | Check Daily DB backup on SCC Data Protector Manager DB-VALIDPRO-u5ddb01-FRI □ DB-NONPRO-u5ddb0a\_db0b\_FRI □ Oracle8 NP-U5DDB-ORACLE-FRI □ IDB SCC-DP-IDB-FRI □ Time completed at : \_\_\_\_\_:\_\_\_\_\_ |  |  | remote to m5dpc01 |  |
| 10:00 | Check Date of SAV Virus Definitions File for both PCC / SCC VALID V Servers on IE |  |  | m5ppc01 or m5ppc02 | (Remarks : Re COPM 15.2) |
| 10:00 | Offsite the previous Month-End Backup tape to SCC & update "Production Tape Location.xls" |  |  |  |  |
| 13:00 | Replenish blank papers into corresponding printer trays (Replace Toner Cartridge and Maintenance Kit when prompt) |  |  |  |  |
| 13:00 | Health check on operation equipment in PCC and SCC, including EMAS, VALID\_V UPS, CCTV, WiFi |  |  |  |  |
| 13:00 | Run SQL "generate\_scheduled\_task\_list" and "generate\_failed\_running\_task\_list" |  |  | m5ppc01 |  |
| 13:00 | Copying CMIS report file from m5ppc02 to Q drive |  |  | m5ppc02 | (Remarks : Re: SCOp1 Email 3/5/2019) |
| 17:30 | Check: all lasejet print queue in "ready" status □ all line printer print queue in "paused" status □ report generator is ready in m5prpt01 □ DocQueFlow status □ |  |  | msprpt01, m5pprt01 | (Remarks : Re: COPM 17.1) |
| 17:30 | Run SQL "generate\_scheduled\_task\_list" and "generate\_failed\_running\_task\_list" |  |  | m5ppc01 |  |
| 18:00 | Run SQL "generate\_scheduled\_task list" report |  |  | m5ppc01 |  |
| 19:00 | Health check on operation equipment in PCC and SCC, including EMAS, VALID\_V, UPS, CCTV, WiFi |  |  |  |  |
| 20:30 | Daily Batch job started. Total number of batch job :\_\_\_\_\_\_\_\_\_ |  |  |  |  |
| 21:45 | To ping IP addresses of ITS UPS at TDOA PC |  |  | TDOA | (Remarks : Re: O/N #01/2019) |
| 22:45 | Backup last month Payment Agent files to a CD |  |  | Network Drive | (Remarks : Re:COPM 10.6.10) |
| 01:00 | Run SQL "generate\_hard\_copy\_report\_print\_summary" and check printing status |  |  | m5ppc01 |  |
| 03:10 | Perform VALID V Application Health Check \*\*\* heed msg "MQ Status check - SUCCESS" on OMI \*\*\* 1. Check Address Engine at https://valid5.td.hksarg/valid □ 2. Check Online Report of Web Server 01 at https://u5pweb01:7011/valid □ 3. Check Online Report of Web Server 02 at https://u5pweb02:7011/valid □ 4. To ping IP addresses of ITS UPS at TDOA PC □ |  |  | m5ppc02 & TDOA | (Remarks : Re: [1] - [3] COPM 17.2 [4] O/N #01/2019) |
| (After Printing) | Perform Dedicated Network Application Health Check 1. Check Online Report on A19 in HKLO □ 2. Check Address Engine on A19 in HKLO □ 3. Check Online Report on C11 in KLO □ 4. Check Address Engine on C11 in KLO □ |  |  | m5ppc02 | (Remarks : Re : COPM 17.4 A19 IP address : 172.16.242.102 C11 IP address : 172.16.193.127) |
| 06:05 | Health check on operation equipment in PCC and SCC, including EMAS, VALID\_V UPS, CCTV, WiFi |  |  |  |  |
| 06:15 | Check & verify the Copy of Month-End Backup Tapes whether successfully completed |  |  | MSL4048\_m5pdp01\_library | (Remarks : COPM 10.4) |
| 06:30 | Run SQL "generate\_scheduled\_task\_list" and "generate\_failed\_running\_task\_list" |  |  | m5ppc01 |  |
| 10:00 | testing |  |  | testing |  |